## Pump
OPERATIONAL QUALIFICATION SHEET
PUMP
1
| Tag # | 74P3.J,74P4.J,74P5.J |  |  | Project | F3 |  |  | 2
| Name | Submesible Pump |  |  | Document # |  |  |  | 3
4
O P E R A T I N G D A T A | [8 empty] | 5
L I Q U I D P A R A M E T E R S |  |  |  |  | P R O C E S S P A R A M E T E R S |  |  |  | 6
Name |  | motor |  |  | Flow rate |  |  | cum/h | 7
Density |  | 12 |  | kg/cum | Head |  |  | m | 8
Viscosity |  | 21 |  | cp | Operating T |  |  | degC | 9
pH |  | 34 |  |  | NPSH required |  |  | m | 10
Melting point |  | 45 |  | degC | Jacketing fluid |  |  |  | 11
Boiling point @ atm press |  | 56 |  | degC | Jacket pressure |  |  | bar | 12
Solids content |  | 76 |  | % | Jacket temperature |  |  | degC | 13
Type of solids |  | 78 |  |  | Location |  |  |  | 14
Corrosivity of liquid |  | 98 |  |  | Duty |  |  |  | 15
Toxicity |  | 96 |  |  | Operation via VFD |  |  |  | 16
R U N N I N G P A R A M E T E R S | [8 empty] | 17
P U M P |  |  |  |  | M O T O R |  |  |  | 18
Direction of rotation |  |  |  |  | No load current |  |  | amp | 19
Mechanical seal |  |  |  |  | Water trial current |  |  | amp | 20
Flushing plan |  |  |  |  | Material trial current |  |  | amp | 21
API connections |  |  |  |  | Efficiency |  |  | % | 22
Oil level |  |  |  |  | Temperature |  |  |  | 23
Seal pot pressure |  |  |  |  | Direction of rotation |  |  |  | 24
Noise level | [8 empty] | 25
V I B R A T I O N R E A D I N G | [8 empty] | 26
WATER TRIAL | [8 empty] | 27
P U M P |  |  |  |  | M O T O R |  |  |  | 28
D E | A | H | V |  | D E | A | H | V | 29
30
31
mm/sec |  |  |  |  | mm/sec |  |  |  | 32
33
N D E | A | H | V |  | N D E | A | H | V | 34
35
36
mm/sec |  |  |  |  | mm/sec |  |  |  | 37
38
SERVICE FLUID TRIAL | [8 empty] | 39
P U M P |  |  |  |  | M O T O R |  |  |  | 40
D E | A | H | V |  | D E | A | H | V | 41
42
43
mm/sec |  |  |  |  | mm/sec |  |  |  | 44
45
N D E | A | H | V |  | N D E | A | H | V | 46
47
48
mm/sec |  |  |  |  | mm/sec |  |  |  | 49
50
R E M A R K S | [8 empty] | 51
Note #1 | [8 empty] | 52
Note #2 | [8 empty] | 53
Note #3 | [8 empty] | 54
Note #4 | [8 empty] | 55
Note #5 | [8 empty] | 56
57
The equipment is operating to satisfaction |  |  |  | Yes / No |  |  | Date: |  | 58
59
Mechanical |  |  | Electrical |  |  |  | NPT |  | 60
61
62